Medication Refrigerator

Protocol

# REFRIGERATOR MONITORING

CHECK refrigerator temperatures twice a day during operational hours and aim for 5° C

RECORD the minimum, maximum and current temperatures on the NSW Health vaccine refrigerator temperature chart

RESET the thermometer after recording temperatures

ACT if temperatures are outside of the recommended temperature range of +2°C to +8°C or the fridge has alarmed. Follow the cold chain breach protocol steps below.

# COLD CHAIN BREACH STEPS

1

Take corrective ACTION where possible. Is the refrigerator door closed; refrigerator plugged in/turned on. Contact engineering if a refrigerator malfunction is suspected.

2

3

ISOLATE affected medicines and label ‘DO NOT USE’. Ensure medicines can continue to be stored between +2°C to +8°C. Medicines may need to be transferred to an alternative monitored refrigerator or cooler.

REPORT breach immediately to your manager/delegate

4

DOWNLOAD the Hanwell EMS automated temperature monitoring system and investigate potential cause and duration of breach.

5

DO NOT use medications until advice is received from Pharmacy.

6

DOCUMENT all activity on the back of the ‘NSW Vaccine Refrigerator Temperature Chart - Fortnightly,’ i.e. thermostat adjustment, restocking, power outage, data logger removal etc. SUBMIT an IMS+ for breaches resulting in wastage.

Order the NSW Vaccine Refrigerator Temperature Chart – Fortnightly

.	ORDER NUMBER: NH700227

adapted from August 2020 © NSW Health. SHPN (HP NSW) 200495